Direct measurement of torsional properties of single fibers

Dabiao Liu1,2, Kai Peng1,2, Yuming He1,2,\*

1*Department of Mechanics, Huazhong University of Science and Technology, Wuhan 430074, China*

2*Hubei Key Laboratory of Engineering Structural Analysis and Safety Assessment, Wuhan 430074, China*

\*Corresponding author.

Prof. Yuming He

Department of Mechanics

Huazhong University of Science and Technology, Wuhan 430074, China

TEL: +86 27 87543438

FAX: +86 27 87544882

E-mail: ymhe@hust.edu.cn

## Abstract

In order to characterize the torsional behavior of micron-scale specimens, a direct technique is established based on the principle of torsion balance. The technique applies twist to the specimen and balances the resulting torque against a torsion wire of known torsional rigidity. The torsional rigidity of the torsion wire is determined by a torsion pendulum. To measure the rotation of the torsion wire, a sensitive angle detector, comprised of a thin cross-beam attached between the torsion wire and the fiber specimen and a laser displacement sensor, is developed. The presented technique permits the measurement of torque in single fibers as low as 10-9N•m with a reasonable resolution. Using this technique, torsion tests on micro-diameter copper wires, silver wires and carbon fibers were performed. The longitudinal shear modulus and other torsional properties of these samples, such as yielding shear stress, were obtained.

## I. Introduction

Quasi-static torsion testing on small specimens has been recognized as one of excellent approaches to study the mechanical behaviors of small-scale specimens, from elastic deformation, through yielding, to the strain-hardening regime, whereby the strain gradients are naturally generated in plasticity [1-3](#_ENREF_1" \o "Liu, 2013 #1605). Generally speaking, the development of torsion testing techniques of single fibers/wires is motivated by at least two reasons: the recent interest in the size-dependent plasticity at small scales [4](#_ENREF_4), and the requirement for the shear properties of single high-performance fibers in textile [5](#_ENREF_5) and in the design of high strength composites [6](#_ENREF_6). However, compared to the tensile techniques at small scales that has been mature commercially[7](#_ENREF_7), the development of torsion techniques at small scales is rather slow due to several challenges[1](#_ENREF_1), including the difficulty in detecting micro-torque and in handling the small specimens. Over the past several decades, a series of non-standard techniques for measuring the torsional properties of single fibers/wires have been proposed. Most of them are based upon the principle of torsion balance [8](#_ENREF_9) that can be traced back to the landmark works by Charles Coulomb [9](#_ENREF_10) and Henry Cavendish [10](#_ENREF_11). In fact, the torsion-balance devices are ubiquitous in experimental physics, measurement science and various other fields of engineering [8](#_ENREF_9). Here, we only focus on the torsion-balance techniques applied in the torsional characterization of single fibers, wires and yarns.

In an ideal torsion balance for thin fibers, the specimen is generally fixed between a twisting head at its lower end and a torsion wire of known properties at its upper end. The upper end of the torsion wire can be fixed or be rotated manually. A pointer, or other indicating device, is positioned between the specimen and the torsion wire. As the specimen is twisted, the torque applied on the specimen can be determined by measuring the rotation of the indicating device. Yet, this technique has not been widely used due to the difficult in its implementation. In 1923, Peirce[11](#_ENREF_12" \o "Peirce, 1923 #322) developed a magnetic torsion tester for the measurement of torsional relaxation of yarns. In this apparatus, he employed a known magnetic field to measure the torque in the specimen that was suspended from a torsion head. Following the similar principle, Huan *et al*. [12](#_ENREF_13) recently adopted a coil placed in the radial magnetic field to measure the torque of micro-scale specimens. Additionally, an optical lever system has been widely used to measure the rotation of the indicating device [5](#_ENREF_5),[6](#_ENREF_6),[13](#_ENREF_14),[14](#_ENREF_15). For example, Mitchell and Feughelman [13](#_ENREF_14) used a photographic film to record the movement of the light image in the optical-lever system. Postle *et al*. [15](#_ENREF_17) adopted a lamp-and-scale arrangement to measure the torque in a twisted yarn. Skelton [16](#_ENREF_18) used a circular scale to detect the angular rotation of the mirror that was attached between the torsion wire and the specimen. More recently, Behlow *et al.* [6](#_ENREF_6) proposed a design for the measurement of torque using a sensitive PSD-based optical detector that tracks a torsion reference. Rather than using a optical lever system, Kawabata [17](#_ENREF_19) adopted a pair of linear differential transformers to detect the rotation of the torsion wire. Mccord *et al*. [18](#_ENREF_20) employed an optical encoder module and a slot incremental code wheel disk to measure the rotation of the torsion wire. The main issue of these two methods is that the moment of inertia attached to the torsion wire seems too large to give an instantaneous measurement of torque. Another problem is the influence of the friction on the torque measurement introduced by jewel bearing [6](#_ENREF_6),[12](#_ENREF_13) or air bearing [18](#_ENREF_20).

On the other hand, in 1994, Fleck *et al.* [3](#_ENREF_3) developed a screw-driven torsion balance to perform torsion tests on polycrystalline copper wires ranging in diameters from 12 to 170 μm for studying the strain-gradient effect in plasticity. Since Fleck *et al.’*s pioneering work [3](#_ENREF_3), torsion of thin metallic wires has been recognized as a benchmark experiment in micromechanics [4](#_ENREF_4). However, it is hard to distinguish the elastic range from the toque-twist curves in Fleck *et al.’s* experimental data due to the poor resolution of their apparatus. This drawback has motivated many other researchers to develop a range of new techniques for wire torsion, including the improved fiber-based torsion balance [1](#_ENREF_1),[19](#_ENREF_21),[20](#_ENREF_22), AFM-based torsion balance [19](#_ENREF_21),[21](#_ENREF_23), and load-unload technique [2](#_ENREF_2),[22](#_ENREF_24). However, most of techniques aforementioned above are unable to test single fibers/wires with diameter less than ten microns [19](#_ENREF_21),[21](#_ENREF_23). And the calibration methods are different from one to another, making the comparability and traceability of the experimental results worse.

In this paper, a new torsion tester with high accuracy and resolution for measuring the torsional properties of individual fibers is established based on the principle of torsion balance. In this tester, a fiber sample is subjected to a given twist and the resulting torque is measured by a torsion (tungsten) wire of known torsional rigidity. The inserted twist can be controlled accurately so that both the shear modulus and the shear yield strength of specimens can be determined. The sensitivity and reproducibility of the technique is discussed. Finally, the proposed technique is applied to investigate the torsional properties of micro-diameter copper and silver wires, and carbon fibers.

## II. Experimental details

### A. Torsion balance setup

Based on the static torsion-balance principle, a torsion tester has been established for measuring the toque-twist curves of an individual fiber, as shown in Fig. 1(a). It is designed to balance the torque acting on the specimen against the torque of a torsion wire (i.e., a torque meter). In this arrangement, a fiber specimen is fixed between a twisting head at its lower end and a torsion wire (a tungsten wire is used here) of known torsional rigidity at its upper end. The upper end of the torsion wire of length  and of diameter  is glued to a thin rigid beam mounted on a three-dimensional translation stage. The lower end of the torsion wire is attached to a stiff and light cross-beam (acted as an indicating device) which is connected to the upper end of the fiber specimen. The lower end of the fiber specimen is attached to a tensioning mass made of one or two washers for giving a constant stress of about 2–3 MPa, far below its yield strength, during the measurement. The tension mass is inserted into a slot (i.e. twisting head) to prevent lateral movement while still allowing the mass to slide freely in the vertical direction, as shown in Fig. 1(a). The twisting head is mounted on the stepper motor (i.e. turntable) located at a three-dimensional translation stage. A constant rate of twist is applied to the specimen by the stepper motor.

As the specimen is twisted, the applied torque in the fiber specimen is transmitted to the torsion wire through the stiff cross-beam. Twist of the specimen leads to a rotation of the cross-beam resulting in a torque in the torsion wire. At equilibrium, the torque in the torsion wire is equal and opposite to that in the specimen, i.e.,



where  is the rotation of the cross-beam, and  is the torsion constant (torque per unit twist) of the torsion wire. The angular displacement  is detected by an optical detection system (see Fig. 1(b) for details), which is calculated as



where  is the distance of the laser spot deviated from the initial position, and  is the vertical distance between the laser spot and the torsion wire centered in the cross-beam. The twist of the specimen is the difference between the torsion angle applied by the stepper motor and . Then the relative twist of the two ends of the specimen is



where  is the twist angle given by the stepper motor. If a suitable torsion wire is used, the value of  can be less than 10-4. Therefore, one can adopt the twist angle provided by the stepper motor, , to denote the twist inserted into the specimen, i.e..

If the value of  in Eq. is known, the torque  can be obtained. It is known that the value of  depends on the length, , and the torsional rigidity,, of the torsion wire, i.e.



where  is the shear modulus,  is the diameter of the torsion wire, and  is its moment of inertia. The determination of  can be achieved by means of a torsion pendulum (see Section 2.3 for details). Finally, according to Eqs.–, one can obtain the torque-twist data continuously for the specimen. The sensitivity of the apparatus can be altered by exchanging the torsion wire, for one of greater or less torsional rigidity. Generally, the torque per unit angular displacement of the torsion wire should be approximately ten times the magnitude of the greatest value of toque applied in the fiber specimen [5](#_ENREF_5).

Fig.1a.tiff

Fig.1b.tiff

FIG. 1. (a) Schematic diagram of the torsion tester; (b) Diagram of the optical detection system for detecting the torsion angle of the cross-beam.

The design is realized within the previous self-developed torsion testing instrument [1](#_ENREF_1),[20](#_ENREF_22). The rotation rate provided by the stepper motor is ranging from 0.05236 rad/s to 0. 5236 rad/s. The minimum angular increment of stepper of is 0.0314rad, but if necessary, a servomotor could be substituted to provide increased resolution or rotation rate. The optical detector for measuring the angular displacement of the torsion wire consists of a laser displacement sensor (Keyence, LK-G80) with a resolution of 0.1μm and the cross-beam attached between the torsion wire and the specimen. The cross-beam is initially adjusted to be vertical to the laser beam emitted from the laser displacement sensor. The laser beam is reflected off the cross-beam and collected by a CCD within the displacement sensor, as illustrated in Fig. 1(b). The experiment control and data acquisition for the torsion testing is automated through a LabVIEW (National Instruments Corp.) program in a computer, which provides for control of a range of experimental parameters, such as the rotating speed, twist amplitude, cyclic numbers (if cyclic torsion is desired). During testing, the data are displayed real-timely on a strip recorder onscreen and are called to a torque-twist graph upon completion.


### B. Calibration of the torsion wire

The calibration of the torsion wire is crucial for the torsion testing. Several researchers determined the torsional rigidity of the torsion wire by applying a known torque to the wire [3](#_ENREF_3),[23](#_ENREF_26). This was achieved by using a dead weight suspended over a pulley arrangement [3](#_ENREF_3),[23](#_ENREF_26). Such a calibration method has been proved to be unsatisfactory because of the friction in the pulley used to redirect the load. Here, we adopt an improved torsion pendulum based on image processing [24](#_ENREF_27) to determine the shear modulus of the torsion wire accurately, as shown in Fig.2(a). Here, we chose tungsten wires ranging in diameter from 15 to 40μm as the torsion wires. The real diameter of each tungsten wire was determined with a scanning electron microscopy (SEM), see Fig. 4(a) for example. A length of tungsten wire was suspended at one end, and two washers with a suitable mass were bonded to the other end. The oscillation motion of the suspended mass was recorded with a video camera overhead. An image processing method has been developed to calculate the twist angle of the pendulum. The oscillation frequency was then determined by the Fast Fourier Transform (FFT). The shear modulus of the tungsten wire can be calculated as [24](#_ENREF_27),[25](#_ENREF_28)



Here,  is the mass,  is the thickness,  and  are the outer and inner diameters of the washers, respectively;  is the wire length,  is the wire diameter, and  is the torsion oscillation frequency of the pendulum.

We take the torsion pendulum testing on the tungsten wire of diameter 30.53±0.10μm as an example. In this test, two steel washers clamped and bonded with a small amount of glue at the free end were used as the rotating mass. The washers were with the following parameters: , , , and . The detailed description of the torsion pendulum is given by Yu *et al*. [24](#_ENREF_27) As shown in Fig. 2(a), by providing and releasing a small initial torque, we set the pendulum under a free torsional oscillation. A typical oscillation curve is given in Fig. 2(b). The corresponding fundamental oscillation frequency is determined by FFT, which is found to be 0.520Hz, as shown in Fig. 2(c). The length of the tungsten wire is 64.52 mm. Then, the shear modulus of the tungsten wire is calculated as , which is in agreement with the results in literatures [24](#_ENREF_27),[25](#_ENREF_28). Substituting the values of and other parameters into Eq. , one can obtain the torsional constant of the torsion wire.





 

FIG. 2. Calibration of the torsion wire. (a) Schematic diagram of a torsional pendulum; (b)Typical torsional oscillation data of the Tungsten wire; (c) The power spectrum generated by FFT with a sampling interval of 0.04s.

### C. Preparation of the specimens

The fiber specimens were prepared according to following procedures. A single strand of the microfiber was isolated with the aid of an optical microscope (Keyence VHX-500FE). In order to avoid damage, the two ends of the fiber specimen of length about 15cm were glued to two V-holders on a paperboard, as shown in Fig.3 (a). Similarly, a torsion wire of length about 5cm was also bonded on another paperboard in the same way (Fig.3 (b)). These two paperboards were then placed together in a way that the specimen and the torsion wire were aligned to each other, as illustrated in Fig. 3(c). Afterwards, the cross-beam, consisting of an aluminum foil with a thickness of 200μm, a height of 8mm and a length of 30mm, was bonded to a suitable position of the torsion wire and the specimen for fixing them together. With the cross-beam being a dividing line, we cut a segment of specimen at the left and a segment of torsion wire at the right (see Fig. 3(d)), respectively. Finally, a washer with a suitable mass was attached to the end of the specimen, and the torsion wire was glued to a thin rigid beam, as shown in Fig. 3(e).




FIG. 3. Schematic illustration for preparation of the fiber specimens.

Here, three types of fibers/wires were chosen for testing, i.e. copper wire (99.999% purity, Henan Youk Electronic Material Co., Ltd., China), silver wire (>99.99% purity, MK Electron(Kunshan) Co., Ltd.), and carbon fiber (T300, PAN, Toray Industries, Inc.). The diameters of the specimens and the torsion wires were measured by a SEM (Quanta 3D Dual Beam system FIB-SEM), as shown in Fig. 4.

Fig.4.tiff

FIG. 4. SEM images of torsion wire and fiber specimens: (a) Tungsten wire of diameter 30.53±0.10μm, (b) copper wire of diameter 49.89±0.27μm, (c) silver wire of diameter 49.57±0.25μm, and (d) T300 carbon fiber of diameter 7.04±0.02μm. Silver wires and carbon fibers used here are the same as those in reference [24](#_ENREF_27).

## III. Evaluation of the technique

To test the sensitivity and reproducibility of the torsion tester, three repeated measurements were performed on 18μm-diameter polycrystalline copper wires in elastic range, as shown in Fig. 5. The torsion data are displayed in the form of surface shear stress  versus surface shear strain . Here,  is the torque,  the wire radius, and  the twist per unit length. The experimental curves exhibit a reasonable repeatability. We used the mean curve as a representative response (see Fig. 5), in which the error bar marked on the mean curve is ±2MPa. The corresponding shear modulus is calculated as 54.11±2.14GPa, as listed in Table 1. The fluctuations in the curves are mainly due to the misalignment between the specimen and the twisting head, as shown in Fig. 6. As pointed out by Walter and Kraft [21](#_ENREF_23), it is hard to align the specimen perfectly into the twisting head. Therefore, the cross-beam moves around a circular track during one rotation (see Fig. 6(a)). Such a motion leads to an alternating signal in the angular displacement measurement of the torsion wire, as well as in the torque measurement, as illustrated in Figs. 6 (b) and (c). One can see that the closer is the cross-beam to the fixed end of the torsion wire, the less is the influence of misalignment on the torque measurement. Therefore, we adopted the torsion wire of length in the range 10-25mm throughout testing, which was much shorter than the gauge length of the specimen. In addition, the roughness of the cross-beam also has an influence on the torque signal, which turns out to be much smaller than that caused by the misalignment.

According to Eqs. and , one can see that the measured torque is strongly dependent on the wire diameter. That is, there is a dramatically decrease in torque with decreasing the fiber/wire diameter. Compared with the previous study [1](#_ENREF_1), the improved design of torsion tester here is allowed to measure torque as low as 10-9N⋅m with a resolution of up to 10-10N⋅m, which enables to characterize single fibers with diameter less than 10μm. For example, the torsional properties of individual carbon fibers of diameter 7.02±0.18μm are studied (see Section 4).




FIG. 5. Torsional stress-strain curves within elastic range for the copper wires of diameter 18μm.

Fig.6.tif

FIG. 6. Influence of the vertical misalignment between a specimen and the twisting head on the measurement. (a) The misalignment at different positions; (b) different positions of the cross-beam during one rotation on its circuit lead to an alternating torque measured by the optical detection system; (c) typical fluctuation in a torque-twist curve.

As reviewed by Liu *et al*. [25](#_ENREF_28), two well-known methods for measuring the torsional properties of single fibers are the torsion-pendulum technique and the torsion-balance technique. It is known that the torsion-pendulum approach is simple in design and rapid in application, but the information it provided is severely limited since the rigidity is measured for only small strains. This method is generally unable to provide the information related to plasticity, creep or hysteresis [24](#_ENREF_27). The torsion-balance technique described here overcomes many of these limitations, and can be used to measure the torsional yield and plasticity information as well as shear stress-strain response.

## IV. Results and discussion

All the torsion measurements were performed in twist-control mode and carried out at room temperature. The gauge length of the tested wires was varied between 60 and 100 mm. The rotating speed of the turntable used here was 6.28rad/min. Due to the difference of diameter and gauge length of the specimens, the surface shear strain rate of each specimen was not the same, but all were below 3×10-5/s.

The shear stress-strain curves for the 50μm-diameter copper wires and silver wires are shown in Fig. 7. The curves are scattered but still exhibit reasonably repeatability. We used the mean curve as a representative response. The error bars marked on the mean curve are not results from calculating deviations, which are only used to indicate the upper and lower boundary of the curve scattering. Note that the large perturbations on the curves are caused by the air current. Both the copper wires and the silver wires exhibit linear elastic followed by non-linear yielding behavior at small strains. The elastic shear moduli for these two types of wires are calculated to be 36.84±2.42GPa and 25.48±1.02 GPa, respectively. The shear yield strengths for these two types of wires are around 40MPa and 60Mpa, respectively. These values are in consistent with those in references[24-26](#_ENREF_27).

Graph6.tifGraph7.tif

FIG. 7. Torsional response of copper wires and silver wires. (a) Copper wires of diameter 50um; (b) Silver wires of diameter 50μm.

To study the capability as well as the resolution of the tester, the torsion tests were also conducted on 7μm-diameter carbon fibers by following the same procedure, as shown in Fig. 8. Seven measurements under a same testing condition were repeated. One can see that the response of carbon fiber is fully elastic even for a large shear strain at surface as the carbon fiber is brittle in nature, which has been confirmed by the torsion experiments performed by Sawada and Shindo [27](#_ENREF_30). The shear modulus of the T300 carbon fibers is measured to be 19.88±2.42GPa, which is consistent with the published values [24](#_ENREF_27),[25](#_ENREF_28),[27](#_ENREF_30),[28](#_ENREF_31). We have also measured the Young’s modulus for the same carbon fibers by a specially designed fiber tensile module [29](#_ENREF_32), which gives 235.4±12.4 GPa. Therefore, the resulting Poisson’s ratio would be , indicating that the carbon fiber is anisotropic since the isotropic materials must have a Poisson's ratio of . This conclusion is in agreement with that obtained by Tsai and Daniel[30](#_ENREF_33) and Behlow *et al.* [6](#_ENREF_6).



FIG. 8. Typical torsion data on a single T300 carbon fiber (Diameter: 7.02±0.18μm, Length: 66.50mm). The torsion constant of torsion wire used here is 0.043042μN•cm/deg. The shear modulus of carbon fiber determined by the linear fitting is 18.995GP.

Table 1. Shear moduli for copper, silver wires and carbon fibers.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Specimen | Diameter (μm) | Diameter of torsion wire(μm) | *K* of torsion wire\* (nN⋅m/deg) | Measured *G*  (GPa) | *G* in Refs.  (GPa) |
| Copper wires | 18.19±0.14 | 30.53±0.10 | 6.3-7.1 | 54.11±2.14 | 40-49 [6](#_ENREF_6),[24](#_ENREF_27),[25](#_ENREF_28) |
| Copper wires | 49.89±0.27 | 40.58±0.20 | 32.8-58.8 | 36.84±2.42 | 40-49 [6](#_ENREF_6),[24](#_ENREF_27),[25](#_ENREF_28) |
| Silver wires | 49.57±0.25 | 40.58±0.20 | 46.5-55.8 | 25.48±1.02 | 29.32±0.32 [24](#_ENREF_27) |
| Carbon fibers | 7.02±0.18 | 15.20±0.10 | 0.43-0.78 | 19.88±2.42 | 14-22 [24](#_ENREF_27),[25](#_ENREF_28),[27](#_ENREF_30),[28](#_ENREF_31) |

\*Note that the different value of *K* for torsion wires with a same diameter is due to the different length of torsion wire we used.

## V. Conclusions

A torsion-balance tester has been developed for the measurement of torsional properties of single micron-diameter fibers/fibers. The design of the tester is allowed to perform torque-twist measurement on single fibers/wires under a condition of constant tension. As examples, the torsion tester is applied to investigate the torsional properties of thin metallic wires and carbon fibers of diameter from several microns to tens microns. The experimental results demonstrate that the technique can be used to measure the toque down to nN⋅m regime with an accuracy of about 8%. Unavoidably, the misalignment between the torsion wire and the twisting head would give some noise in the measured torque-twist curves, which is analyzed in detail. Many torsional parameters, such as the shear modulus and shear yield strength, can be obtained with a reasonable accuracy. For further progress, the proposed technique is expected to be extended to characterize other torsional characteristics, including creep, hysteresis, fatigue, and torque relaxation, etc.

## Acknowledgements

This work was supported by the Natural Science Foundation of China (No. 11072084 and No. 11272131), the Natural Science Foundation of Hubei Province (No. 2015CFB394) and the Fundamental Research Funds for the Central Universities (HUST, No. 2015QN138).

### References

1 Dabiao Liu, Yuming He, D. J. Dunstan, Bo Zhang, Zhipeng Gan, Peng Hu, and Huaming Ding, Int J Plasticity **41**, 30 (2013).

2 D. J. Dunstan, J. U. Galle, B. Ehrler, N. J. Schmitt, T. T. Zhu, X. D. Hou, M. P'Ng K, G. Gannaway, and A. J. Bushby, Rev Sci Instrum **82** (9), 093906 (2011).

3 N A Fleck, G M Muller, M F Ashby, and J W Hutchinson, Acta Met Mater **42** (2), 475 (1994).

4 John W Hutchinson, Int J Solids Struct **37** (1), 225 (2000).

5 R C Dhingra and R. Postle, J Text I **65** (3), 126 (1974).

6 H. Behlow, D. Saini, L. Oliveira, L. Durham, J. Simpson, S. M. Serkiz, M. J. Skove, and A. M. Rao, Rev Sci Instrum **85** (9), 095118 (2014).

7 E. P. S. Tan and C. T. Lim, Rev Sci Instrum **75** (8), 2581 (2004);  Jong H Han and M Taher A Saif, Rev Sci Instrum **77** (4), 045102 (2006).

8 G. T. Gillies and R. C. Ritter, Rev Sci Instrum **64** (2), 283 (1993).

9 Charles Augustin Coulomb, *Memoires de l'Academie Royale des Sciences*. (Academie royale des sciences, Paris, 1784).

10 Henry Cavendish, Philosophical Transactions of the Royal Society of London, 469 (1798).

11 Frederick Thomas Peirce, J Text I T **14** (11), T390 (1923).

12 Yong Huan, Yujing Dai, Yaqi Shao, Guangjian Peng, Yihui Feng, and Taihua Zhang, Rev Sci Instrum **85** (9), 095106 (2014).

13 T W Mitchell and M Feughelman, Text Res J **30** (9), 662 (1960).

14 R Postle, P Burton, and M Chaikin, J Text I T **55** (9), T448 (1964);  L D Armstrong and T W Mitchell, Journal of Physics E: Scientific Instruments **2** (4), 375 (1969).

15 R. Postle, P. Burton, and M. Chaikin, J Text I T **55** (9), T448 (1964).

16 J Skelton, J Text I T **56** (8), T443 (1965).

17 Sueo Kawabata, presented at the The 4 th Japan-U. S. Conference on Composite Materials Washington, 1989.

18 M G Mccord and M S Ellison, J Appl Polym Sci **61** (2), 293 (1996).

19 B Song and W-Y Lu, Exp Mech **55** (5), 999 (2015).

20 Dabiao Liu, Yuming He, Xutao Tang, Huaming Ding, and Peng Hu, Scripta Mater **66**, 406 (2012).

21 M. Walter and O. Kraft, Rev Sci Instrum **82** (3), 035109 (2011).

22 D J Dunstan, B Ehrler, R Bossis, S Joly, K M Y P'NG, and A J Bushby, Phys Rev Lett **103** (15), 155501 (2009);  A. J. Bushby and D. J. Dunstan, Phil Mag **91** (7-9), 1037 (2011).

23 H Tavanai, M J Denton, and J G Tomka, J Text I **87** (1), 50 (1996).

24 Longteng Yu, Dabiao Liu, Kai Peng, and Yuming He, Measurement Science and Technology, In press (2016).

25 Dabiao Liu, Yuming He, Peng Hu, Zhipeng Gan, and Huaming Ding, Acta Mech Solida Sin **27** (3), 221 (2014).

26 W. Y. Lu and B. Song, Exp Mech **51** (5), 729 (2010).

27 Yoshihiro Sawada and Akio Shindo, Carbon **30** (4), 619 (1992).

28 R. D. Adams, J Phys D: Appl Phys **8** (7), 738 (1975).

29 Dabiao Liu, Yuming He, Peng Hu, Huaming Ding, Xutao Tang, and Zhao Li, J Exp Mech **27** (1), 61 (2012).

30 C.L. Tsai and I M Daniel, Exp Mech **39** (4), 284 (1999).